**Smart Mailbox / Locker Specification**

**Manufacturer - Matrix Research Limited**

**Product Brand - ACX**

# Mailbox/Locker System Description

* 1. The system described in this specification specifies the minimum requirements and general design intent. The Contractor shall be responsible for the system design to meet the performance requirement as specified and shall include any necessary accessories for a complete system.
	2. The following sections will describe the installation requirements of smart lock system installation work. The description in this section may not necessarily describe the Works in full detail. Reference shall be made to other sections of this specification and tender drawings. Due allowance shall be made to include necessary fittings, auxiliaries, and sundry items compatible with good trade practices to provide a complete and efficient system to meet the specified performance requirements.
	3. By using mobile scramble / dynamic QR code technology, all system designs, materials and equipment shall comply with the latest applicable patent and certificate of “Card Identification System with Scramble Coding Ability”, “Scramble Encryption in Data Communication”, and “Non-Transferred Identification System Using Scrambling Two Dimension Code” from Hong Kong Patents Registry Intellectual Property Department, and any relevant Authorities or Regulatory Bodies. Plagiarism is not allowed.
	4. The smart lock system shall be in one software platform which includes: -
1. Smart Locker System
2. Design for lock rental services
3. Supports multi-technology (Bluetooth, Scramble QR Code, Palm Vein, Facial Recognition, RFID Card, Keypad, and Octopus) access control reader
4. Smart Mailbox System
5. Allow checking mailbox status via email, APP and SMS
6. Real-time notification upon receiving a letter through email, SMS or mobile apps.
7. Mailbox / Locker application server has API for 3rd party software integration
8. Enable unlocking mailbox lock by smartphone via Bluetooth or Scramble QR Code
9. Supports multi-technology (Bluetooth, Scramble QR Code, Palm Vein, Facial Recognition, RFID Card, Keypad, and Octopus) access control reader
	1. The smart lock system shall be fully interoperated under one authorization management, i.e. the system shall be operated under one database system. The identification/coding of equipment, smart card holders, etc. shall follow the same logic and format.
	2. The smart lock system shall consist of a workstation complete with an LCD monitor, local database server, network switches, networked mailbox master controller/ mailbox expansion controller, multi-technology smart lock readers, and mailbox/ locker locks, and all associated software and accessories.
	3. The smart lock system shall utilize the Fast Ethernet network for communication.
	4. A local workstation shall be provided. The status of the system shall be monitored and repeated to the central workstation via fiber optic or CAT6 cables.
	5. Networked mailbox master controller/ mailbox expansion controller shall keep downloaded data from the database and be capable of self-independent controlling and monitoring transactions even with the breakdown of the network and power outage. The downloaded data shall remain in the controllers so that any programmed data shall not be destroyed in case of main power failure.
	6. The database of access rights to each mailbox/ locker shall be stored at each networked mailbox master controller/ mailbox expansion controller so that any communications breakdown shall not affect the operation of any individual door.
	7. Each smart lock reader shall communicate with networked mailbox master controller/ mailbox expansion controller by RS485 cable with scramble encryption technology, the reader to controller cable distance can be extended to 1,200 meters.
	8. The smart lock system shall be able to work under offline mode.

* 1. All smart lock readers installed for the Works shall support access rights granted via Bluetooth, Scramble QR Code, and RFID Card in a single reader. Access rights granted via NFC/ Keypad/ Palm Vein/ Facial Recognition/ Octopus shall be available as additional provisions to the smart lock reader.
	2. The smart lock system shall provide a Virtual Card Platform to generate a Bluetooth/ Scramble QR Code as Virtual Credential and deliver the identity to the user’s mobile through email. Users can download the APP from the Android and iOS stores, after inputting the activation code sent by the operator, a virtual card number will be generated on mobile. The mobile virtual card can be running on no internet connection.
	3. The access control for mailboxes/ lockers shall be completed with an online access control system to notify an access request and the local and central database shall keep a record of the request.
	4. Firmware of the smart lock system shall be able to be updated remotely via a network connection.
	5. The mail arrival and the mailbox door status shall be real-time updated to the mailbox server.
	6. The mail server shall have API for 3rd party application development.
1. **Materials and Equipment**
2. Smart Lock System Server and Workstation
3. Server hardware and software requirement
4. Completed with 1920 x 1080 LCD monitor, mouse, keyboard, and software.
5. WIN 10 Professional 64 bits edition, English / Chinese operating system
6. SQL express 2018 or above
7. INTEL i7 Processor (3.4GHz, 8M cache) or equivalent
8. 1TGB SSD, 8GB DDR4 RAM
9. 1 x LAN Port, 4 x USB3.0
10. UPS to give non-stop power supply for minimum 15 minutes after the failure of the main power
11. Workstation
12. It shall be completed with a 1920 x 1080 LCD monitor, mouse, keyboard, and software.
13. WIN 10 Professional 64 bits edition, English / Chinese operating system
14. INTEL i7 Processor (3.4GHz, 8M cache) or equal
15. 512GB SSD, 8GB DDR4 RAM
16. 1 x LAN Port, 4 x USB3.0
17. UPS to give non-stop power supply for minimum 15 minutes after the failure of the main power
18. Smart Lock System Software
19. Architecture
20. This is a client-server software application which can run on WIN 10 or the latest windows version.
21. Server Program is a service in the PC server, once the PC server restart, the server program will run automatically.
22. Client Software has multi-language features which include English, Tradition Chinese, and Simplify Chinese.
23. Users can online change the software text content.
24. Unlimited client application installed, but the maximum number of concurrent user logins will be under control
25. Same database for storing Facial template, Palm Vein template, and card number.
26. Same software interface for managing Facial, Palm Vein, Virtual Card registration, and access control distribution.
27. Communication
28. Server program uses multi-threading programming technique, which direct communication to access the control panel on Ethernet cable, real-time response.
29. TCP/IP communication.
30. Data Security
31. User-defined 128 bits master key in Server and Panel for data encryption.
32. A unique 192 bits random key is generated per data transmission.
33. Data encryption method, master key encrypts random key, random key encrypts the exchanged data during communication.
34. AES128 and 3DES Algorithm mixed.
35. Database requirement
36. MS SQL 2019 or above
37. Application user authority
38. Password protection
39. Application’s access can be filtered by View / Add / Edit / Delete
40. User data access can be filtered
41. Access panel access can be filtered
42. Event status can be filtered
43. Event acknowledge can be filtered
44. Reporting
45. All kinds of reports can be viewed on-screen and sent to the printer
46. Report can export to TEXT, EXCEL & PDF file.
47. Cardholder management
48. Provide Import and Export data tool for 3rd party data integration
49. Door access activated by the specified card holder
50. The mailbox/locker is allowed for use before the specified card authorization
51. Network Mailbox Master Controller/ Mailbox Expansion Controller
52. Designed in IP-based, high-speed data communication
53. Mailbox master controller can control 12 sets lockset, mailbox expansion controller can control 16 sets lockset.
54. Mailbox master controller is IP based and connects to the mailbox system server
55. Mailbox master controller has RS485 port which connects max. 31 sets mailbox expansion controllers.
56. One available IP address can handle 508 sets of mailbox
57. Real-time message of the letter arrival
58. Mailbox's door status and mailbox's E-Lock status through SMS / POP Message / Email / API.
59. The master locker/mailbox controller can connect two pcs smart lock readers. The multi-technology smart lock reader refers to item 4.5 / 4.6 / 4.7 / 4.8.
60. Mailbox / Locker Lock
61. The mailbox/locker lock includes a DC motorize lock, one set door sensor, one set internal infra-red sensor, and two sets of external sensors for object detection.
62. Electric lock: fail secured mode.
63. Total 4 sensors for mailbox/locker door tamper monitoring and mail arrival notification.
64. Support emergency opening design. If the electric lock of the locker/mailbox is not functioning properly, the user can remove the temper label on the locker/mailbox door and open the electric lock manually with the special tools.
65. 100mA for normal operation, 1.5A for opening the electric lock.
66. Locker lock size shall be not larger than 104mm(W) x 80mm(H) x 17mm(D)
67. The wiring of the locker/mailbox lock cannot be exposed inside the locker/mailbox area.

1. Multi-technology Smart Card smart lock reader (Bluetooth + Scramble QR Code + RFID Card)
2. Supports 13.56MHz NXP Mifare Class, Mifare Plus, Mifare DESFire, and LEGIC card technology.
3. Supports Mobile Virtual Card, Bluetooth 4.0+ and Scramble QR Code
4. 13.56MHz card read range: 5cm+; Bluetooth read range: 0.5m to 10m; QR Code read range: 4cm to 22cm
5. NFC technology compatibility (13.56 MHz NFC)
6. Programmable buzzer beep sound interval for access granted and access denied
7. Red / Green / Blue or mixed LED for visual notification
8. Programmable LED flash interval for access granted and access denied
9. Reader can be configured online
10. Reader outputs ACX proprietary scramble encryption RS485 format
11. Reader Tamper: Optical sensor
12. Reader size shall be not larger than 80mm(W) x 130mm(H) x 20mm(D)
13. IP55 rated
14. Multi-technology Smart Card smart lock reader (Bluetooth + Scramble QR Code + Keypad RFID Card)
15. Supports 13.56MHz NXP Mifare Class, Mifare Plus, Mifare DESFire, and LEGIC card technology.
16. 12 capacitance touch keypad
17. Supports Mobile Virtual Card, Bluetooth 4.0+ and Scramble QR Code
18. 13.56MHz card read range: 5cm+; Bluetooth read range: 0.5m to 10m; QR Code read range: 4cm to 22cm
19. NFC technology compatibility (13.56 MHz NFC)
20. Programmable buzzer beep sound interval for access granted and access denied
21. Red / Green / Blue or mixed LED for visual notification
22. Programmable LED flash interval for access granted and access denied
23. Reader can be configured online
24. Reader outputs ACX proprietary scramble encryption RS485 format
25. Reader Tamper: Optical sensor
26. Reader size shall be not larger than 80mm(W) x 130mm(H) x 20mm(D)
27. IP55 rated
28. Multi-technology Palm Vein smart lock reader (Bluetooth + Scramble QR Code + RFID Card + Palm Vein)
29. Supports 13.56MHz NXP Mifare Classic, Mifare Plus, Mifare DESFire, and LEGIC card technology.
30. Supports Mobile Virtual Card, Bluetooth 4.0+ and Scramble QR Code
31. 13.56MHz card read range: 5cm+; Bluetooth read range: 0.5m to 10m; QR Code read range: 4cm to 22cm
32. Palm Vein recognition technology should be provided by Fujitsu PalmSecure-F Pro sensor
33. Palm Vein Sensor supports binocular infrared live detection
34. Palm Vein recognition can be completed in one second for 2,000 palm vein users. Each user can register 2 palm vein templates
35. The recognition accuracy rate is higher than 99% and 0.5m-1.5m recognition distance is supported
36. Supports 20,000 local personnel
37. Programmable buzzer beep sound interval for access granted and access denied
38. Red / Green / Blue or mixed LED for visual notification
39. Programmable LED flash interval for access granted and access denied
40. Reader can be configured online
41. Reader outputs ACX proprietary scramble encryption RS485 format
42. Reader Tamper: Optical sensor
43. Reader size shall be not larger than 80mm(W) x 130mm(H) x 20mm(D)
44. IP55 rated
45. Multi-technology Facial Recognition smart lock reader (Bluetooth + Scramble QR Code + RFID Card + Facial Recognition)
46. Supports 13.56MHz NXP Mifare Classic, Mifare Plus, Mifare DESFire, and LEGIC card technology.
47. Supports Mobile Virtual Card, Bluetooth 4.0+ and Scramble QR Code
48. 13.56MHz card read range: 5cm+; Bluetooth read range: 0.5m to 10m; QR Code read range: 4cm to 22cm
49. Facial detection supports binocular infrared live detection
50. Face recognition can be completed in 300 milliseconds
51. The recognition accuracy rate is higher than 99% and 0.5m-1.5m recognition distance is supported
52. Supports 20,000 local personnel
53. Real-time detection and tracking of human faces, accurate detection can be carried out in situations such as side faces, half occlusion, and blur
54. Minimum 0.5 lux recognition
55. Effective defense against non-living attacks such as 3D printing, electronic screens, video, pictures, masks, hoods, etc.
56. Programmable buzzer beep sound interval for access granted and access denied
57. Red / Green / Blue or mixed LED for visual notification
58. Programmable LED flash interval for access granted and access denied
59. Reader can be configured online
60. Reader outputs ACX proprietary scramble encryption RS485 format
61. Reader Tamper: Optical sensor
62. Reader size shall be not larger than 80mm(W) x 130mm(H) x 20mm(D)
63. IP55 rated
64. Multi-technology Octopus smart lock reader (Bluetooth + Scramble QR Code + Octopus)
65. Supports Octopus, Mobile Virtual Card by Bluetooth 4.0+ and Scramble QR Code
66. Bluetooth read range: 0.5m to 10m; QR Code read range: 4cm to 22cm
67. Received the Octopus Holding Limited Type Approval Certificate
68. Programmable buzzer beep sound interval for access granted and access denied
69. Red / Green / Blue or mixed LED for visual notification
70. Programmable LED flash interval for access granted and access denied
71. Reader outputs ACX proprietary scramble encryption RS485 format
72. Reader Tamper: Optical sensor
73. Reader size shall be not larger than 94mm(W) x 196mm(H) x 55mm(D)
74. Flush mount design with only 6mm extruded from the wall
75. **Commissioning and Testing**
76. The Contractor shall include in his tender all costs associated with the above-mentioned testing and commissioning procedures including the cost of making good any defects arising out of the such test and having the work retested. Such costs shall also include the provision of all instruments necessary for the test.
77. The commissioning shall be carried out by a Specialist Sub-contractor (SSC). The SSC shall undertake the commissioning of the respective installed services systems in accordance with the Drawings and Specifications. The SSC shall provide network engineers, software engineers, and commissioning engineers for the commissioning works.
78. **Warranty, Maintenance, and Emergency Support Requirements**
	1. All products offered shall have a full warranty period of 1 year, including all systems, deployed equipment and version upgrade, fix and patch updates and, labor starting from the employer’s acceptance of handover to the employer operation service unless otherwise approved by the employer’s representative.
	2. The Contractor should provide all necessary materials, parts, tools, equipment, and qualified labor to carry out the maintenance and repairing services throughout the full warranty period.
	3. The Contractor should state clearly if the support is directly provided by the manufacturer or from another supplier, with any value-added service from the Contractor.
	4. System and software problem diagnosis shall be provided on-site or remote by the Contractor’s engineer(s) or specialist(s). They should follow through the whole diagnostic activity, such as but not limited to gathering logs, discussing with back-end, setup and apply fix in the environment for verification, prepare and provide information to ease the diagnostic, etc.
	5. Within the warranty period, maintenance activities shall include half yearly inspection of the system, repairs or replacement of defective parts and consumables should be carried out free of charge.

-End-